# Monitoring and Measuring Equipment

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| ID | Name | Manufacturer | Calibration\* | Image |
| MID001 | Digital thermometer hygrometer TP50 | ThermoPro | N/A  Rationale:  Not used to “provide evidence of conformity of product to determined requirements” [ISO 13485, Clause 7.6].  No requirements for limits or tolerances specified in WHS service as of 04JAN2022. |  |

\*Options:

* N/A  
  Specify rationale, e.g. not used to “provide evidence of conformity of product to determined requirements” [ISO 13485, Clause 7.6]
* Applicable, calibration interval  
  Specify calibration interval, e.g., based on:
  + Specifications of standards/ guidelines
  + Manufacturer specifications
  + Calibration laboratory recommendations (e.g. in report)
  + Required tolerance
  + Frequency of use
  + Operating conditions (e.g. use environment)
* Applicable, calibration after specified number of times of use