## IFU (hidden)
Warning: never sort the items, or you lose their sequential order!
Info: Uses List of components and Item validation (hidden sheet). After updates in these sheets, the source range in data validation field must be changed. Select the cell. To open it, enter "data valitation" in the search bar. Change the source range and tick the "apply changes to all cells with same setting" checkbox. Click on OK to apply the changes. This procedure has to be done for REF, item, from, to and check cells.
Insert component
In the sheet Inventory Warehouse:
1. Search by the REF in the 1st column
2. Insert LOT/REF/SN
3. Insert PO/WO
4. Insert the Quantity
5. If the component arrived – > insert x in the IN
6. Select Warehouse Switzerland
7. Insert the arrival date in the „Date goods receipt“, select „IC“ and put in Incoming Inspection area.
8. Perform incoming inspection, insert date into the same row (as „Date RE/Quarentine“) and move to RE or Q. For disposable components, also add an expiration date.
9. When moved to shipping area, update to „S“ (no date required).
Remove component
10. If you take the component out -> create a new line -> insert LOT and insert x in the OUT.
11. Select in the column TO the place
a. If you don’t find, go to the unhide, and select the Item Validation -> go to column D and add it
12. Insert the date in the Date shipment. (No other date entries needed.)
13. Select in the column FROM: Warehouse Switzerland and write in the column RE/IC/Q/S where you took it from.
When you do incoming inspection, you DO NOT insert a new line. Please search for the line that correspond to the product inspected and add the date.

## Sheet 1
| Inventory Log | [9 empty] | Doc.no.: REC-601 Version: 005 Author: Evolunis GmbH
GR: goods received, IC: incoming control, Q: quarantine, ST: stock, WIP: production is work-in-progress, RE: released, SH: shipped NONMED: non-medical components, PC: prototyping components, EXPM: expandable materials, TEST: test equipment, TOOL: tools | [5 empty] | This is a log file. Use one line per transaction |  |  |  |  | Copies are not controlled.
[6 empty] | From |  | To |  |  | Transaction
Supplier / manufacturer | Item name | REF | ID Number / LOT / SN and/or UDI | Qty | Expiration Date | Moved from | Status GR/IC/Q/S/WIP/RE/SH2 | Moved to | Status GR/IC/Q/S/WIP/RE/SH222 | Owner | Comment | Date | Archived

## Drop down lists (hidden)
Production Area | FROM IN/FROM TO
IC | Warehouse Switzerland
RE | Repair Switzerland
Q | Warehouse Russia
S | Repair Russia
WIP | Discarded
[RE/IC/Q/S/WIP] | From production
To production
Correction REF
Geneva
Mannheim
Hamburg
Munich
Regensburg
Moscow Petrovsky Center
TÜV SÜD Munich
Maastricht
Fondazione Cardio Centro Ticino
Lisbon
Spes medica
Lugano
TÜV SÜD Straubing
Test
HighWay
Polyval
Centro Cardiologico Monzino
Prototype
JDC
Boston Scientific
CSEM
KCL London
CZECH TECH UNIV.-Czech Rep
Formoplast
Amycard LCC
Fürth
Acutus
Innopac
Smartmedics
Production at EP Solutions
NAMSA
Compona AG
Stock correction
Release Area
Incoming Inspection Area
Shipping Area
Quarantine
R&D Area
[Place]

## List of components (hidden)
List of components
Part Number Supplier | Part Number Supplier/EPS | Name | Category | Supplier | Manufacturer | Status
1576 | 1576 | Keyboard - Microsoft Wired 600 | Prototype | InterDiscount | Microsoft
50603 | 50603 | Set of 6 Precordial Electrodes - IP-SET 6V | Prototype | Integral Process | Integral Process
849751 | 849751 | Disposable electrode - S45 | Prototype | Evolunis | Evolunis
951406 | 951406 | Mouse - Intertronic ITR Optische Maus | Prototype | InterDiscount | Intertronic
110-27-440 | 110-27-440 | Heat-Shrink Tubing - Grey - Spool Box - 9.5 mm x 4.7 mm x 5 m | Prototype | Distrelec | HellermannTyton
110-27-453 | 110-27-453 | Heat-Shrink Tubing - Grey - Spool Box - 12.7 mm x 6.4 mm x 5 m | Prototype | Distrelec | HellermannTyton
12383.FF | 12383.FF | Dysprosyum Foil - 0.0250 mm, 99.9%, REO, 25x25mm | Prototype | VWR International GmbH | Alfa Aesar
148-21-660 | 148-21-660 | Acrylic Glass Plate - 500 mm x 500 mm x 4 mm | Prototype | Distrelec | N/A
148-21-743 | 148-21-743 | FR-4 500 Plate - 500 mm x 500 mm x 1 mm | Prototype | Distrelec | N/A
172704-0089 | 152-1042-4P | D-Sub Connector - 37 Pin Cover | Prototype | Mouser | FCT Electronics
173112-0404 | 152-FRSK1/5M3 | D-Sub Connector - Thumb Screw - M3 | Prototype | Mouser | FCT Electronics
152-FVS1/5M2.5 | 152-FVS1/5M2.5 | D-Sub Connector - Locking Screw - M2.5 - Slotted Head | Prototype | Mouser | FCT Electronics
155-50-290 | 155-50-290 | Copper Wire - YV 0,5 MMØ Black - Solid Wire, PVC 0.20 mm, black, 100 m | Prototype | Distrelec | Kabeltronik
300-91-031 | 300-91-031 | Heat-Shrink Tubing - Clear - Spool Box - 9.5 mm x 10 m | Prototype | Distrelec | RND Components
1/2-5-4905 | 3M10161-ND | Double-sided tape - TAPE DBL COATED CLEAR 1/2"X 5YDS | Prototype | DigiKey | 3M
3M156587-ND | 3M156587-ND | Heat-Shrink Tubing - Black - SFTW-203 1/4" | Prototype | DigiKey | 3M
50601-us | 50601-us | Set of Precordial Electrodes - sample from US conference | Sample | Integral Process | Integral Process
534-9330 | 534-9330 | Screw - #4-40 Nylon Machine-Slotted Pan Head screw, 5/8'' | Prototype | Mouser | Keystone Electronics
534-9430 | 534-9430 | Screw - #4-40 Nylon Machine-Slotted Binding Head screw, 5/8'' | Prototype | Mouser | Keystone Electronics
534-9431 | 534-9431 | Screw - #4-40 Nylon Machine-Slotted Binding Head screw, 3/4'' | Prototype | Mouser | Keystone Electronics
534-9530 | 534-9530 | Screw - #4-40 Nylon Machine-Slotted Flat Head screw, 5/8'' | Prototype | Mouser | Keystone Electronics
534-9537 | 534-9537 | Screw - #6-32 Nylon Machine-Slotted Flat Head screw, 5/8'' | Prototype | Mouser | Keystone Electronics
1-1393561-9 | 571-1-1393561-9 | D-Sub Connector - Jacking Screw - #4-40 | Prototype | Mouser | TE Connectivity
65240-008LF | 65240-008LF | Dubox 8-Pole Crimp Housing - Single Row | Prototype | Distrelec | Amphenol FCI
67013-008LF | 67013-008LF | Duflex 8-Pole Crimp Housing - Single Row | Prototype | Mouser | Amphenol FCI
76357-301LF | 76357-301LF | Dubox Crimp-to-Wire Contacts - 30-22 AWG, 2.54 mm, Female | Prototype | Distrelec | Amphenol FCI
76785-301LF | 76785-301LF | Duflex Piercing Crimping Contacts - Flexible Circuits, Female, 3A, 2.54 mm, Gold Contact | Prototype | Mouser | Amphenol FCI
785-0809 | 785-0809 | Formex Black 025 mm foils (UL recognised electrical insulator) | Prototype | RS Components | RS Pro
88030270A | 88030270A | NEMA 5-15 - Hospital-Grade, Right-Angled Plug | Medical device | Interpower | Interpower
M20-1160042 | 952-2157-1-ND | Crimping Contact - Female, 30-22 AWG, 2.54 mm, Gold Contact | Prototype | DigiKey | Harwin Inc.
A-HDF 62 PP/Z | AE11035-ND | D-Sub Connector - Female, High-Density, 62-Pole, with Vertical Soldering | Production Tools | DigiKey | Assmann WSW Components
Aluminum Plate 520x400 mm | Aluminum Plate 520x400 mm | Aluminum Plate - 520 mm x 400 mm | Prototype |  | N/A
AMY02AU | AMY02AU | AU - Amplifier Unit | Medical device | AMYCARD | Meditek
AMY02IC | AMY02IC | IC - Interface Cable | Medical device | AMYCARD | Meditek
| AMY02IMU | Instructions for medical use | Medical device
| AMY02IMU PT | Instructions for medical use - PT | Medical device
AMY02MU | AMY02MU | MU - Mapping Unit | Medical device | AMYCARD | Meditek
| AMY02OM | Operating manual | Medical device
| AMYCART | Trolley with fastening for medical equipment | Medical device | ITD GmbH | ITD GmbH
| ASRM1JA10K0CT-ND | Resistor - 10 KΩ, 1W, 5%, Axial | Prototype | DigiKey | Stackpole Electronics
ASRM1JA22K0CT-ND | ASRM1JA22K0CT-ND | Resistor - 22 KΩ, 4000V,1W, 5% | Prototype | DigiKey | Stackpole Electronics
ASRM1JA47K0CT-ND | ASRM1JA47K0CT-ND | Resistor - 47 KΩ, 1W, 5% | Prototype | DigiKey | Stackpole Electronics
ASRM1JA4K70CT-ND | ASRM1JA4K70CT-ND | Surge Resistor - 4.7 KΩ, 4000V, 5%, 1W | Prototype | DigiKey | Stackpole Electronics
ASRM2JA10K0CT-ND | ASRM2JA10K0CT-ND | Resistor - 10 KΩ, 2W, 5%, Axial | Prototype | DigiKey | Stackpole Electronics
| BELT12012AMY | Elastic Patient belt | Medical device
Copper Plate | Copper Plate | Copper Plate - individual plate | Prototype
67013-008LF | COPRICONNGRAMYC | Duflex 8-Pole Crimp Housing - Single Row | Prototype | Spes Medica | Amphenol FCI
CT37-62P | CT37-62P | D-Sub Connector - Male, High-Density, 62-Pole | Prototype | Distrelec | FCT Electronics
| DE-CT002 | DE-CT - Disposable ECG Electrode CT - prototype with brass | Prototype | Spes Medica | Spes Medica
ECG8SNAPAMYC | ECG8SNAPAMYC | Patient Flat Cable - Flat Cable, 8 Contacts, for ECG Mapping, without label | Medical device | Spes Medica | Spes Medica
ECG8SNAPAMYC-SEMI | ECG8SNAPAMYC-SEMI | Patient Flat Cable - Flat Cable, 8 Contacts, for ECG Mapping, Semi-Finished | Medical device | Spes Medica | Spes Medica
ECG8SNAPAMYC-SEMI+SNP | ECG8SNAPAMYC-SEMI+SNP | Patient Flat Cable - Flat Cable, 8 Contacts, for ECG Mapping, Semi-Finished, with Snaps | Medical device | Spes Medica | Spes Medica
EEP3052 | EEP3052 | Female Electrode Snap - Molded in Black with Embedded Resistor 10 KΩ 1 W (Stackpole Resistors ASRM1) | Prototype | Plastics One | Plastics One
EEP3053 | EEP3053 | Female Electrode Snap - Molded in Black with Embedded Resistor 4.7 KΩ 1 W (Stackpole Electronics ASRM1) | Prototype | Plastics One | Plastics One
| EPC001AMPGSK15-001 | AU - Gasket Standard ECG | Medical device | AMYCARD
| EPC001AMPGSK62-001 | AU - Gasket Unipolar | Medical device | AMYCARD
AMY02AU | EPC001AMPUNIxx-001 | AU - Amplifier Unit | Medical device | AMYCARD
301-01-058 | EPC001AUxNTxM3x001 | AU - Nylon Polyamide hex nuts M3 | Medical device | Distrelec | RND Components
301-00-780 | EPC001AUxSCWM3x001 | AU - Nylon- Cylindrical screw 3Mx12 mm | Medical device | Distrelec | RND Components
110-41-184 | EPC001AUxSCWTLx001 | AU - Thread-locking compound 10ml | Medical device | Distrelec | Loctite
725-9987 | EPC001AUxSPYEMI001 | AU - EMI/RFI Shielding Aerosol With Grey colour 400mL | Medical device | RS Components | Electrolube
3M156202-ND | EPC001AUxTIMPAD001 | AU - Thermal Pad 240mm x 228.6 mm | Medical device | DigiKey | 3M
| EPC001BELLAS5M-001 | MU - Lashing Belt (to fix the Mapping Unit to the Cart) | Medical device | Jumbo
SCATANTAMYC | EPC001BOXLBLMEC001 | ECG Mapping Cable - Front part of the grey box for CAV56AMYC | Medical device | Spes Medica | Spes Medica
EPC001CBLSETMEC001 | EPC001BOXLBLMEC001 | ECG Mapping Cable - Front part of the grey box for CAV56AMYC | Medical device | Spes Medica | Spes Medica
VIT21000 | EPC001BOXSCWMEC001 | ECG Mapping Cable - Screw for Plastic | Medical device | Spes Medica
EPC001CBLSETMEC001 | EPC001BOXSCWMEC001 | ECG Mapping Cable - Screw for Plastic | Medical device | Spes Medica
SCATPOSTVEAMYC | EPC001BOXVCRMEC001 | ECG Mapping Cable - Back part of the grey box for CAV56AMYC | Medical device | Spes Medica | Spes Medica
EPC001CBLSETMEC001 | EPC001BOXVCRMEC001 | ECG Mapping Cable - Back part of the grey box for CAV56AMYC | Medical device | Spes Medica | Spes Medica
| EPC001CAPCBLMEC001 | ECG Mapping Cable - Caps | Medical device | EP Solutions
| EPC001CARADABSK001 | Cart - Basket Adapter | Medical device | ITD GmbH | ITD GmbH
| EPC001CARARMSWI250 | Cart - Swivel Arm - 2 parts L250-L250 | Medical device | ITD GmbH | ITD GmbH
| EPC001CARARMW/JCLA | Cart - Jointed Arms with Clamps (Ø16 mm) | Medical device | ITD GmbH | ITD GmbH
| EPC001CARBCKDRW001 | Cart - Block of Drawer | Medical device | ITD GmbH | ITD GmbH
| EPC001CARBDNEQU001 | Cart - Equipotential Bonding - 5.0 m | Medical device | ITD GmbH | ITD GmbH
| EPC001CARBSKTPR001 | Cart - Storage Basket Tapered | Medical device | ITD GmbH | ITD GmbH
ZV.9798.799 | EPC001CARCBLCH-001 | Cart - Power Cable - CH | Medical device
KU.2968.799 | EPC001CARCBLDK-001 | Cart - Power Cable - DK | Medical device
| EPC001CARCBLEUR001 | Cart - Power Cable - EUR | Medical device | ITD GmbH | ITD GmbH
ZV.9860.799 | EPC001CARCBLUK-001 | Cart - Power Cable - UK | Medical device
| EPC001CARCBLUS-001 | Cart - Power Cable - US | Medical device | Schürter AG | Schürter AG
| EPC001CARCBLUS-001 | PVU - Power Supply Cable for the LCD - US | Medical device
| EPC001CARCOVSWT001 | Cart - Cover for I / O switch | Medical device | ITD GmbH | ITD GmbH
| EPC001CARCVRSTR001 | Cart - Cover Strip | Medical device | ITD GmbH | ITD GmbH
| EPC001CARCVRSTR002 | Cart - Cover Strip | Medical device | ITD GmbH | ITD GmbH
| EPC001CARCVRSTR003 | Cart - Cover Strip | Medical device | ITD GmbH | ITD GmbH
| EPC001CARDRWK+M001 | Cart - Keyboard Drawer with Mousepad (Left/Right) | Medical device | ITD GmbH | ITD GmbH
| EPC001CARFRMBSC001 | Cart - Pro-Cart Basic Frame | Medical device | ITD GmbH | ITD GmbH
SJ5017-0-ND | EPC001CARFX-BMP001 | MU - Cylindrical Bumper - Dome Ø0.750" (Ø19.05 mm), Polyurethane Black | Medical device | DigiKey | DigiKey
| EPC001CARFX-MU-001 | MU - Steel Sheet Metal Fixation for the Mapping Unit | Medical device | Herren Frères | Herren Frères
BN 30104 | EPC001CARFX-SCW001 | MU - M6x10 Screw - Button Head Socket Cap | Medical device | Carrel | Carrel
| EPC001CARHANPSH001 | Cart - Push Handle | Medical device | ITD GmbH | ITD GmbH
| EPC001CARHOLDSP001 | Cart - Monitor Holder | Medical device | ITD GmbH | ITD GmbH
| EPC001CARITF1.2001 | Cart - Isolation Transformer 1200 VA | Medical device | ITD GmbH | ITD GmbH
| EPC001CARITFEUR001 | Cart - Isolation Transformer | Medical device | ITD GmbH | ITD GmbH
| EPC001CARPROEUR001 | Cart - Pro-Cart - EUR | Medical device | ITD GmbH | ITD GmbH
| EPC001CARPROUS-001 | Cart - Pro-Cart - US | Medical device | ITD GmbH | ITD GmbH
| EPC001CARROLSET001 | Cart - Roller Set for Trolley | Medical device | ITD GmbH | ITD GmbH
| EPC001CARSHLHAN001 | Cart - Shelf with Handle | Medical device | ITD GmbH | ITD GmbH
| EPC001CARSWTO/I001 | Cart - On and Off Switch (On Support Column) | Medical device | ITD GmbH | ITD GmbH
| EPC001CARWNDCBL001 | Cart - Cable Winder | Medical device | ITD GmbH | ITD GmbH
300-61-673 | EPC001CBL2.5MEC001 | ECG Mapping Cable - Cable Tie 100 mm x 2.5 mm Black | Medical device | Distrelec | Distrelec
109738 | EPC001CBLBAG4X5001 | Zip-Bag - 400 mm x 500 mm, Food-Grade | Medical device | PharmaGlass | PharmaGlass
| EPC001CBLDISC13001 | MU - LCD Power Supply Cable - IEC Interconnection Cord with IEC Connector C13, V-Lock, Straight | Medical device | Schürter AG | Schürter AG
| EPC001CBLDISC13001 | MU - LCD Power Supply Cable - IEC Interconnection Cord with IEC Connector C13, V-Lock, Straight | Medical device | AMYCARD | Schürter AG
| EPC001CBLDISC13002 | MU - Power Supply Cable - IEC Interconnection Cord with IEC Connector C13, V-Lock, Straight with ferrite beads | Medical device | Schürter AG | Schürter AG
| EPC001CBLDISCH-001 | PVU - Power Supply Cable for the LCD - CH | Medical device
| EPC001CBLDISDVI001 | MU/PVU - DVI Cable for the LCD | Medical device | BenQ | BenQ
| EPC001CBLDISEUR001 | PVU - Power Supply Cable for the LCD - EUR | Medical device
| EPC001CBLDISUK-001 | PVU - Power Supply Cable for the LCD - UK | Medical device
EPC001CBLE04EUR001-SF | EPC001CBLE04EUR001 | Standard ECG Cable 4 Leads - EUR | Medical device | EP Solutions | EP Solutions
ZK04 015/702-04/004 | EPC001CBLE04EUR001-SF | Standard ECG Cable 4 Leads - Semi-Finished | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
ZK10 015/702-14/001 | EPC001CBLE04US-001-SF | Standard ECG Cable 4 Leads - US - Semi-finished | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
EPC001CBLE04US-001-SF | EPC001CBLE04US-001 | Standard ECG Cable 4 Leads - US | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
EPC001CBLE10EUR001-SF | EPC001CBLE10EUR001 | Standard ECG Cable 10 Leads - EUR | Medical device | EP Solutions | EP Solutions
ZK10 015/702-04/006 | EPC001CBLE10EUR001-SF | Standard ECG Cable 10 Leads - Semi-finished | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
EPC001CBLE10US-001-SF | EPC001CBLE10US-001 | Standard ECG Cable 10 Leads - US | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
ZK10 015/702-14/001 | EPC001CBLE10US-001-SF | Standard ECG Cable 10 Leads - US - Semi-finished | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
732-1509-ND | EPC001CBLFER119001 | IC - Ferrite Bead - 119 Ohm | Medical device | DigiKey | Würth Electronics
732-1913-ND | EPC001CBLFER270001 | ECG Mapping Cable / Standard ECG Cable - Ferrite Bead - 270 Ohm | Medical device | DigiKey | Würth Electronics
732-3086-ND | EPC001CBLFER40-001 | MU - Ferrite Bead - 40 Ohm | Medical device | DigiKey | Würth Electronics
74271 | EPC001CBLFERKEY001 | Star-Tec safety key | Medical device | DigiKey | Würth Electronics
| EPC001CBLINTxx-001 | IC - USB Cable for Interface Cable | Medical device | AMYCARD | AMYCARD
BN39-00397D | EPC001CBLINTxx-002 | IC - USB Cable for Interface Cable | Medical device | SamsungParts | Samsung
BN39-00397D | EPC001CBLINTxx-003 | IC - USB Cable for Interface Cable | Medical device | Alan Computech International | Samsung
| EPC001CBLMEC56C001 | ECG Mapping Cable - V1 | Medical device | Spes Medica | Spes Medica
| EPC001CBLMEC56C001 - Reprocessed | ECG Mapping Cable with Potting Material and without Shielding | Prototype | Spes Medica | Spes Medica
| EPC001CBLMEC56C002 | ECG Mapping Cable - V2 | Medical device | Spes Medica & JDC electronic | Spes Medica & JDC electronic
| EPC001CBLMEC56C002 - prototype | ECG Mapping Cable - V2 - prototype with 7 PCBs and 10 KΩ resistors 2W | Prototype | Spes Medica & JDC electronic | Spes Medica & JDC electronic
| EPC001CBLMEC56C003 | ECG Mapping Cable - V3 | Medical device | JDC electronic | JDC electronic
| EPC001CBLPFT08S001 | Patient Flat Cable - Flat Cable, 8 Contacts, for ECG Mapping | Medical device | Spes Medica | Spes Medica
| EPC001CBLPFT08S002->SF | Patient Flat Cable - Flat Cable, 8 Contacts, for ECG Mapping, Semi-Finished, with green layer | Prototype | Spes Medica | Spes Medica
CAV8CAMYC | EPC001CBLPTLMEC001 | ECG Mapping Cable - Patient Lead - 8-Pole Cable, 460 mm, with Blue Connector and Grey Overmoulding | Medical device | Spes Medica | Spes Medica
EPC001CBLSETMEC001 | EPC001CBLSETMEC001 | ECG Mapping Cable - ECG Mapping Cable Set | Medical device | Spes Medica | Spes Medica
| EPC001CBLSMFMEC001 | ECG Mapping Cable - Semi-Finished ECG Mapping Cable | Medical device | JDC electronic | JDC electronic
| EPC001CBLSMFMEC002 | ECG Mapping Cable - Semi-Finished ECG Mapping Cable | Medical device | JDC electronic | JDC electronic
EPC001CBLSETMEC001 | EPC001CBLTRKMEC001 | ECG Mapping Cable - Big Grey Cable with Black 62-Pole Connector and 2 Strain-Relief for Big Cable | Medical device | Spes Medica | Spes Medica
| EPC001CBLTRKMEC002 | ECG Mapping Cable - Assembled Trunk Cable | Medical device | JDC electronic | JDC electronic
AMYC-68 CABLE | EPC001CBLTRKRAW001 | ECG Mapping Cable - 68-Conductor Cable, 32 AWG for CAV56AMYC | Medical device | Spes Medica | Spes Medica
| EPC001CONDE-CT-001 | DE-CT - Disposable ECG Electrodes CT | Medical device | Spes Medica | Spes Medica
| EPC001CONDE-MRI001 | DE-MRI - Disposable ECG Electrodes MRI Version Silver-Carbon | Medical device | Spes Medica | Spes Medica
| EPC001CONDE-MRI002 | DE-MRI - Disposable ECG Electrodes MRI Version Carbon-Carbon | Medical device | Spes Medica | Spes Medica
F9047/8 | EPC001CONELSCT-001 | Disposable ECG Electrodes Snap CT | Medical device | FIAB SA | FIAB SA
F9047/8 MRI | EPC001CONELSMRI001 | Disposable ECG Electrodes Snap MRI | Medical device | FIAB SA | FIAB SA
F9047/8 | F9047/8 | Disposable ECG Electrodes Snap CT | Medical device | FIAB SA | FIAB SA
F9047/8 MRI | F9047/8 MRI | Disposable ECG Electrodes Snap MRI | Medical device | FIAB SA | FIAB SA
| EPC001CONPS-CT-001 | PS-CT - Position Strip CT | Medical device
| EPC001CONPS-MRI001 | PS-MRI - Position Strip MRI | Medical device
N/A | EPC001DE-CT-BRD001 | DE-CT - Brass disk - 8 mm diameter, 0.1 mm thick | Medical device | Herren Frères | Herren Frères
BL2411PT | EPC001DIS24"xx-001 | MU/PVU - LCD Monitor - 24”, 1680x1050 | Medical device | BenQ | BenQ
| EPC001DST1TKMEC001 | ECG Mapping Cable - 3M VHB TAPE 4910F | Medical device | Distrelec | 3M
EPS2018-ND | EPC001HST1.8MEC001 | ECG Mapping Cable - 3M Heat-shrink EPS200 1/8"x4' BLACK (meter) | Medical device | DigiKey | 3M
SFTW2116K-1000-ND‎ | EPC001HST116MEC001 | ECG Mapping Cable - 3M Heat-shrink SFTW-203 1/16" BLACK | Medical device | DigiKey | 3M
EPS2316-ND | EPC001HST316MEC001 | ECG Mapping Cable - 3M Heat-shrink EPS200 3/16"X4' BLACK (meter) | Medical device | DigiKey | 3M
KY332C-ND | EPC001HST332MEC001 | ECG Mapping Cable - 3M Heat-shrink MFP 3/32"X4' CLEAR (meter) | Medical device | DigiKey | 3M
| EPC001IFUHC-xx-001 | Instructions for Use (hard copy) | Medical device
AMY02IC | EPC001INTCBLxx-001 | IC - Interface Cable | Medical device | AMYCARD | Meditek
3M9913-ND | EPC001INTTxxEMI001 | IC - RF EMI Shielding Tape 18'X2" | Medical device | DigiKey | 3M
| EPC001ITFFUSEUR001 | Cart - 2 Fuses - EUR - 2x T 6,3 AL / FST 230 V | Medical device | ITD GmbH | ITD GmbH
| EPC001ITFFUSEUR002 | Cart - 2 Fuses - EUR - 2x T 6,3 A 230 V | Medical device | ITD GmbH | ITD GmbH
| EPC001ITFFUSUS-001 | Cart - 2 Fuses - US - 2x T 12,5 AL 115 V | Medical device | ITD GmbH | ITD GmbH
| EPC001ITFFUSUS-002 | Cart - 2 Fuses - US - 2x T 12,5 A 115 V | Medical device | ITD GmbH | ITD GmbH
920-002504 | EPC001KBDCH-xx-001 | PVU - Keyboard - CH | Medical device | Logitec | Logitec
RCLP/DE/W5 | EPC001KBDDE-LP-001 | MU - Keyboard - DE - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
920-002489 | EPC001KBDDE-xx-001 | PVU - Keyboard - DE | Medical device | Logitec | Logitec
RCLP/FR/W5 | EPC001KBDFR-LP-001 | MU - Keyboard - FR - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
920-002488 | EPC001KBDFR-xx-001 | PVU - Keyboard - FR | Medical device | Logitec | Logitec
RCLP/IT/W5 | EPC001KBDIT-LP-001 | MU - Keyboard - IT - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
920-002517 | EPC001KBDIT-xx-001 | PVU - Keyboard - IT | Medical device | Logitec | Logitec
RCLP/PT/W5 | EPC001KBDPT-LP-001 | MU - Keyboard - PT - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
920-002816 | EPC001KBDPT-xx-001 | PVU - Keyboard - PT | Medical device | Logitec | Logitec
RCLP/CH/W5 | EPC001KBDSW-LP-001 | MU - Keyboard - CH - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
RCLP/UK/W5 | EPC001KBDUK-LP-001 | MU - Keyboard - UK - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
920-002501 | EPC001KBDUK-xx-001 | PVU - Keyboard - UK | Medical device | Logitec | Logitec
RCLP/US/W5 | EPC001KBDUS-LP-001 | MU - Keyboard - US - Hygienic White, Reallycool, Low-Profile Keyboard | Medical device | Man & Machine | Man & Machine
920-002479 | EPC001KBDUS-xx-001 | PVU - Keyboard - US | Medical device | Logitec | Logitec
| EPC001LBL04LEUR001 | Standard ECG Cable 4/10 Leads - Label - EUR | Medical device | Grobet | Grobet | Active
| EPC001LBL04LUS-001 | Standard ECG Cable 4 Leads - Label - US | Medical device | Grobet | Grobet
| EPC001LBL10LEUR001 | Standard ECG Cable 10 Leads - Label - EUR | Medical device | Grobet | Grobet | Obsolete
| EPC001LBL10LUS-001 | Standard ECG Cable 10 Leads - Label - US | Medical device | Grobet | Grobet
| EPC001LBLAMPUNI001 | AU - Label With Specifications | Medical device | Grobet | Grobet
| EPC001LBLCAREUR001 | Cart - Label With Specifications - EUR | Medical device | Grobet | Grobet
| EPC001LBLCARUS-001 | Cart - Label With Specifications - US | Medical device | Grobet | Grobet
| EPC001LBLCBLMEC001 | ECG Mapping Cable - Label | Medical device | Grobet | Grobet
| EPC001LBLCBLPFT002 | Patient Flat Cable - Label | Medical device | Grobet | Grobet
| EPC001LBLDE-CT-001 | DE-CT - Round Labels | Medical device | Lenzlinger | Lenzlinger
| EPC001LBLEPCEUR001 | System - Label With Specifications - EUR | Medical device | Grobet | Grobet
| EPC001LBLEPCUS-001 | System - Label With Specifications - US | Medical device | Grobet | Grobet
| EPC001LBLIDSPFT002 | ECG Mapping Cable - Set of Label ID for the Patient Cable: A, B, C, D, E, F, G | Medical device | Grobet | Grobet
| EPC001LBLINTCBL001 | IC - Label With Specifications | Medical device | Grobet | Grobet
| EPC001LBLISOP17001 | System - Label - No Pushing - ISO 7010 - P017-Dia 25 | Medical device | Schärer + Kunz AG | Schärer + Kunz AG
| EPC001LBLISOP18001 | System - Label - No Sitting - ISO 7010 - P018-Dia 25 | Medical device | Schärer + Kunz AG | Schärer + Kunz AG
| EPC001LBLISOP19001 | System - Label - No Stepping On Surface - ISO 7010 - P019-Dia 25 | Medical device | Schärer + Kunz AG | Schärer + Kunz AG
| EPC001LBLMAPUNI001 | MU - Label With Specifications | Medical device | Grobet | Grobet
| EPC001LBLP+VUNI001 | PVU - Label With Specifications | Medical device | Grobet | Grobet
| EPC001LBLPCKEUR001 | System - Packaging Label - EUR | Medical device | Grobet | Grobet
| EPC001LBLPCKUS-001 | System - Packaging Label - US | Medical device | Grobet | Grobet
AMY02MU | EPC001MAPUNIxx-001 | MU - Mapping Unit | Medical device | AMYCARD | AMYCARD
| EPC001MOUSMLxx-001 | MU - Mouse - Hygienic White, Petite Mouse | Medical device | Man & Machine | Man & Machine
| EPC001MOUWMBxx-001 | PVU - Mouse | Medical device | Logitec | Logitec
36-9904-ND | EPC001MU-FX-SCW001 | MU - #6-32 Pan Head Machine Screw Phillips Drive Stainless Steel | Medical device | DigiKey | DigiKey
| EPC001P+VCBLEUR001 | PVU - Power Supply Cable - EUR | Medical device
| EPC001P+VCBLUK-001 | PVU - Power Supply Cable - UK | Medical device | Schürter AG | Schürter AG
| EPC001P+VUNI700001 | Power Supply TMPC-700 | Medical device | Trump Power | Trump Power
| EPC001P+VUNIxx-001 | PVU - Processing and Visualization Unit - A Workstation Computer | Medical device | Highway Informatique | Highway Informatique | superseded
| EPC001P+VUNIxx-001 | PVU - Processing and Visualization Unit - A Workstation Computer | Medical device | DELL | DELL
5820T | 5820T | PVU - Processing and Visualization Unit - A Workstation Computer without label | Medical device | DELL | DELL
| EPC001PCB023MEC001 | ECG Mapping Cable - PCB 23 mm x 27 mm | Prototype | Beta Layout | Beta Layout
| EPC001PLTAMPLSH001 | AU - L-Shape Adaptation Plate | Medical device | Polyval | Polyval
| EPC001PLTPC-129001 | ECG Mapping Cable - Polycarbonate Plate - Transparent, 120 mm x 90 mm x 2 mm | Medical device | Formoplast | Formoplast
| EPC001PLTPC-505001 | Polycarbonate Plate - Transparent, 500 mm x 500 mm x 2 mm | Prototype | Distrelec | Distrelec
PASSACPAMYC | EPC001PTLRTRMEC001 | ECG Mapping Cable - Small Strain-Relief for CAV56AMYC | Medical device | Spes Medica | Spes Medica
EPC001CBLSETMEC001 | EPC001PTLRTRMEC001 | ECG Mapping Cable - Small Strain-Relief for CAV56AMYC | Medical device | Spes Medica | Spes Medica
EPC001CBLSETMEC001 | EPC001PTLSETMEC001 | ECG Mapping Cable - Set of 7 Cables with 8-Poles Blue Molded Connectors | Medical device | Spes Medica | Spes Medica
ASRM2JA10K0CT-ND | EPC001RES10KMEC001 | ECG Mapping Cable - Resistor - 10 KΩ, 2W, 5%, Axial | Medical device | DigiKey | Stackpole Electronics
152-FRSK1/5M3 | EPC001SCW62PMEC001 | ECG Mapping Cable - D-Sub Connector - Thumb Screw - M3 | Medical Device | Mouser | FCT Electronics
N/A | EPC001SYSxx-EUR001 | System - AMYCARD 01C - EUR version | Medical device | N/A | EP Solutions
| EPC001TRAUSBxx-001 | Training Material (USB key) | Medical device
144-17-053 | EPC001TRKDSCMEC001 | ECG Mapping Cable - D-Sub high-density plug poles 62 male | Medical device | Distrelec | Distrelec
144-17-597 | EPC001TRKDSHMEC001 | ECG Mapping Cable - D-Sub plastic hood poles 37 | Medical device | Distrelec | Distrelec
PASSACGAMYC | EPC001TRKRTRMEC001 | ECG Mapping Cable - Big strain-relief for CAV56AMYC | Medical device | Spes Medica | Spes Medica
EPC001CBLSETMEC001 | EPC001TRKRTRMEC001 | ECG Mapping Cable - Big strain-relief for CAV56AMYC | Medical device | Spes Medica | Spes Medica
155-79-873 | EPC001TRKWIRMEC001 | ECG Mapping Cable - Copper Wire - LIYV - Stranded Wire, PVC, 0.25mm², Tinned Copper, White | Medical device | Distrelec | Distrelec
301-17-377 | EPC001xxxASxBAG001 | Pink antistatic bag 12"x16" | Medical device | Distrelec | RND Components
EPS2316-ND | EPS2316-ND | 3M Heat-shrink EPS200 3/16"X4' BLACK (meter) | Prototype | DigiKey | 3M
F9047 | F9047 | Disposable Electrode - 32 mm x 45 mm | Medical device | FIAB SA | FIAB SA
FKH-4E | FKH-4E | D-Sub Connector - 62-Pole Housing | Prototype | Distrelec | Distrelec
| fuses US 2x T 10 | 2 Fuses - US - 2x T 10 | Prototype | ITD GmbH | ITD GmbH
FVS1/5-K1163 | FVS1/5-K1163 | Interlocking Screw PU | Prototype | Distrelec | Distrelec
IP-Connect-F3 | IP-Connect-F3 | Connector IP SET with small cables | Prototype | Integral Process | Integral Process
KY332C-ND | KY332C-ND | 3M Heat-shrink MFP 3/32"X4' CLEAR (meter) | Prototype | DigiKey | DigiKey
| Lead Patient Cable | Lead Patient Cable with ZM08 ECG Snap Leads | Prototype | Polyval | Polyval
| Lead Patient Cable - proto | Lead Patient Cable with ZK06 ECG Snap Leads | Prototype | EP Solutions | EP Solutions
MS420512BN-N | MS420512BN-N | PS-CT - Nickel Brass Stud | Medical device | Micron | Micron
| Nameplate Amplifier Unit | AU - Label specifications | Medical device | AMYCARD | AMYCARD
| Nameplate ECG MAPPING CABLE | ECG Mapping Cable - Label - Amycard | Medical device | AMYCARD | AMYCARD
| Nameplate ECG MAPPING CABLE red | ECG Mapping Cable - Set of labels ID Patient Cable: A, B, C, D, E, F, G - Amycard | Medical device | AMYCARD | AMYCARD
| Nameplate INTERFACE CABLE | IC - Label with specifications - Amycard | Medical device | AMYCARD | AMYCARD
| Nameplate MAPPING UNIT | MU - Label with specifications - Amycard | Medical device | AMYCARD | AMYCARD
| Nameplate PROCESSING | PVU - Label with specifications - Amycard | Medical device | AMYCARD | AMYCARD
| Nameplate SPECIALIZED CART | Cart - Label with specifications - Amycard | Medical device | AMYCARD | AMYCARD
| Nameplate SYSTEM | System - Label with specifications | Medical device | AMYCARD | AMYCARD
EPC001CBLSETMEC001 | PCB ECG Mapping Cable | ECG Mapping Cable - Main PCB with re-drilled holes to fit in grey box |  | Spes Medica | Spes Medica
PCBPOOL02_1500 | PCBPOOL02_1500 | Small PCB 23x32 mm | Prototype | Beta Layout | Beta Layout
PT 4100.991 | PT 4100.991 | Cart - Plate of the cart | Medical device | ITD GmbH | ITD GmbH
Purple PCB V0.0 | Purple PCB V0.0 | Purple Small PCB 23x32 mm | Prototype | OSH Park | OSH Park
RPC1118-ND | RPC1118-ND | Round Standoff Threaded #6-32 Neoprene Rubber, Steel Insert 0.438" (11.13mm) 7/16" Black | Prototype | DigiKey | DigiKey
S4.7KHCT-ND | S4.7KHCT-ND | Resistor - 4.7 KΩ, 1/2W, 5% | Prototype | DigiKey | Stackpole Electronics
SJ5749-0-ND | SJ5749-0-ND | Cylindrical Bumper - Tapered 0.375" Dia (9.53mm), Polyurethane, Black | Prototype | DigiKey | DigiKey
SNP | SNP | Patient Flat Cable - Snap Female Stud - 0.4g/pcs | Medical device | Spes Medica | Spes Medica
SP-023 | SP-023 | I-SHENG cable alim Europe | Prototype | Highway Informatique | Highway Informatique
Stainless steel Plate 270x400 mm | Stainless steel Plate 270x400 mm | Stainless steel Plate 270x400 mm with hole (diameter 4 mm) | Prototype | Herren Frères | Herren Frères
Stainless steel Plate 520x400 mm | Stainless steel Plate 520x400 mm | Stainless steel Plate 520x400 mm with hole (diameter 4 mm) | Prototype | Herren Frères | Herren Frères
Stainless steel Plate 60x400 mm | Stainless steel Plate 60x400 mm | Stainless steel Plate 60x400 mm with hole (diameter 4 mm) | Prototype | Herren Frères | Herren Frères
| Standard ECG CBL Screws | Sample of Standard ECG CBL Screws | Prototype | Bernd Richter GmbH | Bernd Richter GmbH
T01012000003C | T01012000003C | PS-CT - Hook Coins HM 12 mm White 25 m | Medical device | Fastech | Fastech
T13-8100HT-0.5-1C | T13-8100HT-0.5-1C | Label - White Polyester, High-Tack, 25x79 mm | Medical device | CILS | CILS
T13-8300C/GL-0.5-3C | T13-8300C/GL-0.5-3C | Label, White Clear Gloss Polyester, 25x79 mm | Medical device | CILS | CILS
T5-8100HT-2.5-1C | T5-8100HT-2.5-1C | Label - White Polyester, High-Tack, 10x25 mm | Medical device | CILS | CILS
T5-8300C/GL-TK-2.5-3C | T5-8300C/GL-TK-2.5-3C | Label, White Clear Gloss Polyester, 10x25 mm | Medical device | CILS | CILS
| TD-025 | TD-025 - DE-CT_Pouch_Label | Medical device | Spes Medica | Spes Medica
| TD-050 | Patient Flat Cable - Washer - 0.5 g/pcs | Medical device | Dany & Fils SA | Dany & Fils SA
| TD-26 | TD-26 - DE-CT_Cardboard_Label | Medical device | Spes Medica | Spes Medica
| Vitamine E | Vitamine E | Prototype
WM20064-ND | WM20064-ND | Molex LLC- Conn Term Strip 8Circ 0.315" | Prototype | DigiKey | DigiKey
XTH-005 | XTH-005 | HONGPU cable alim Europe | Prototype | Highway Informatique | Highway Informatique
ZK10 015/502-01/001 | ZK10 015/502-01/001 | Standard ECG Cable 10 Leads 10kohm | Prototype | Bernd Richter GmbH | Bernd Richter GmbH
ZM08 015/782-04/001 | ZM08 015/782-04/001 | AMYCARD patient cable 8 leads | Medical device | Bernd Richter GmbH | Bernd Richter GmbH
| ZV.9387.999 | 2 Fuses - US - 2x T 12,5 AH 115 V | Prototype | ITD GmbH | ITD GmbH
AMY02IC | EPC001INTCBLxx-001-SF | IC - Interface Cable Semi-finished | Medical device | AMYCARD | Meditek
| EPC001INTCBLxx-001 | IC - Interface Cable | Medical device |  | EP Solutions
AMY02MU | EPC001MAPUNIxx-001-SF | MU - Mapping Unit Semi-finished | Medical device | AMYCARD | AMYCARD
| [REF] | [Description]

## Summary by center (hidden)
Sum of QTY Center | Column Labels
Row Labels | [Place]
[REF] | 0